## Sheet1
SPREADSHEET FOR DETERMINING THE ABSOLUTE PIPE ROUGHNESS (k) FROM THE WALLINGFORD AND BARR CHART
Note: Original chart data obtained from Wallingford and Barr (2006) "Tables for Hydraulic Design of Pipes, Sewers and Channels" 8th Edition
| Velocity "V" (m/s) | Pipe Absolute Roughness "k" (mm)
| 0.5 | 3
| 0.75 | 1.5
| 1 | 0.6
| 1.5 | 0.3
| 2 | 0.15
| 2.5 | 0.125
| 1.73 | 0.231 | Calculated
Value
User Input Here